## sample conc. Calcs.
|  |  | gas amount (nmol) |  |  |  | gas concentration µmol/mL (aka ppt)
ID | sample | vol (ml) | CO | CH4 | CO2 | H2 | CO | CH4 | CO2 | H2
| LOQ |  | 0.67864 | 0.67864 | 1.3573 | 3.3932 | 0.00067864 | 0.00067864 | 0.0013573 | 0.0033932
B5 | 0 | 1 | 6.9851 | 0 | -0.67704 | 0 | 0.0069851 | 0 | -0.00067704 | 0
B6 | 0 | 1 | 4.1097 | 0 | -0.67704 | 28.9213 | 0.0041097 | 0 | -0.00067704 | 0.028921
|  |  | 0 | 0 | -0.67704 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | 0 | 0 | -0.67704 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | 0 | 0 | -0.67704 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | 0 | 0 | -0.67704 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | 0 | 0 | -0.67704 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Henry's constants
kH(T) = k°H exp(d(ln(kH))/d(1/T) ((1/T) - 1/(298.15 K)))
k°H = Henry's law constant for solubility in water at 298.15 K (mol/(kg*bar))
d(ln(kH))/d(1/T) = Temperature dependence constant (K)
[6 empty] | Boulder |  | ml stp | µmol | lab | target (µmol) | minimum (µmol)
temp K | compound | Hcp (sander) mol m^-3 Pa^-1 | dlnHcp/d(1/T) | Hcp mol L^-1 bar^-1 | Hcc | pressure boulder (bar) | 0.84116 | 1 | 44.615 | NOSAMS | 80 | 2
298.15 | CO | 9.7e-06 | 1300 | 0.00097 | 0.024046 | T (K) | 295.15 | 5 | 223.0752 | Young | 100 | 60
| CH4 | 1.4e-05 | 1900 | 0.0014 | 0.034705 |  |  |  |  | Ono | 223 | 45
| CO2 | 0.00033 | 2400 | 0.033 | 0.81806
| H2 | 7.8e-06 | 530 | 0.00078 | 0.019336
temp K | compound | Hcp (sander) mol m^-3 Pa^-1 | Hcp mol L^-1 bar^-1 | Hcc
306.15 | CO | 8.6554e-06 | 0.00086554 | 0.022032 |  | STP
| CH4 | 1.1852e-05 | 0.0011852 | 0.03017 |  | pressure STP (bar) | 1.0132
| CO2 | 0.0002674 | 0.02674 | 0.68066 |  | T (K) | 273.15
| H2 | 7.446e-06 | 0.0007446 | 0.018953 |  | R (L bar K−1 mol−1) | 0.083145
temp K | compound | Hcp (sander) mol m^-3 Pa^-1 | Hcp mol L^-1 bar^-1 | Hcc
295.15 | CO | 1.014e-05 | 0.001014 | 0.024883 |  | Pa/bar | 100000
| CH4 | 1.4937e-05 | 0.0014937 | 0.036655 |  | L/m^3 | 1000
| CO2 | 0.00035814 | 0.035814 | 0.87887
| H2 | 7.9422e-06 | 0.00079422 | 0.01949

## std. conc. calcs
| total pressure of gas mix (PSIA) | partial pressure of gas of interest (PSI) | partial pressure of gas of interest (atm) | volume (mL) | volume (L) | R (L atm / (mol K) ) | T (K) | mol | nmol | µmol/mL (mM) for 1ml gas inject | µM for 1ml gas inject | nM for 1ml gas inject | note: concentrations refer to the gas phase, i.e. nM = 1*10^-9 mol of analyte gas / 1 L sample gas. Ignoring any solubility effects (which are not relevant for gaseous standards), these concentrations are independent of T & P. However, it may make more sense to think of the detection limit in moles
1 ml 2 ppm ([CH4]atm) | 12.2 | 2.44e-05 | 1.6603e-06 | 1 | 0.001 | 0.082057 | 298.15 | 6.7864e-11 | 0.067864 | 6.7864e-05 | 0.067864 | 67.8641
1 ml 10 ppm (possible detection limit) | 12.2 | 0.000122 | 8.3016e-06 | 1 | 0.001 | 0.082057 | 298.15 | 3.3932e-10 | 0.33932 | 0.00033932 | 0.33932 | 339.3204
10 µL 100 ppm | 12.2 | 0.000122 | 8.3016e-06 | 0.01 | 1e-05 | 0.082057 | 298.15 | 3.3932e-12 | 0.0033932 | 3.3932e-06 | 0.0033932 | 3.3932 | no peak
0.05 ml 100 ppm | 12.2 | 0.00122 | 8.3016e-05 | 0.05 | 5e-05 | 0.082057 | 298.15 | 1.6966e-10 | 0.16966 | 0.00016966 | 0.16966 | 169.6602 |  | was able to measure with 1 ml syringe, but not 10µL syringe. According to 10µL syringe manual, any injections <10% of total capacity of syringe is not accurate, so I don't think I can trust this data point.
0.1 ml 100 ppm | 12.2 | 0.00122 | 8.3016e-05 | 0.1 | 0.0001 | 0.082057 | 298.15 | 3.3932e-10 | 0.33932 | 0.00033932 | 0.33932 | 339.3204
0.2 ml 100 ppm | 12.2 | 0.00122 | 8.3016e-05 | 0.2 | 0.0002 | 0.082057 | 298.15 | 6.7864e-10 | 0.67864 | 0.00067864 | 0.67864 | 678.6408 | limit of quantification (LOQ CH4)
0.5 ml 100 ppm (0.01%) | 12.2 | 0.00122 | 8.3016e-05 | 0.5 | 0.0005 | 0.082057 | 298.15 | 1.6966e-09 | 1.6966 | 0.0016966 | 1.6966 | 1696.602
1 ml 100 ppm (0.01%) | 12.2 | 0.00122 | 8.3016e-05 | 1 | 0.001 | 0.082057 | 298.15 | 3.3932e-09 | 3.3932 | 0.0033932 | 3.3932 | 3393.204 | LOQ for H2 (STDEV of concentration / mean of 3 injections = 13%) |  | in hannah's paper it says detection limit is 10ppm for the gc, but concentrations are reported in mmol
0.1 ml 400 ppm | 12.2 | 0.00488 | 0.00033206 | 0.1 | 0.0001 | 0.082057 | 298.15 | 1.3573e-09 | 1.3573 | 0.0013573 | 1.3573 | 1357.2816 | LOQ for CO2
10 µL 1000 ppm | 12.2 | 0.0122 | 0.00083016 | 0.01 | 1e-05 | 0.082057 | 298.15 | 3.3932e-10 | 0.33932 | 0.00033932 | 0.33932 | 339.3204 | measurable
5 µL 1000 ppm | 12.2 | 0.0122 | 0.00083016 | 0.005 | 5e-06 | 0.082057 | 298.15 | 1.6966e-10 | 0.16966 | 0.00016966 | 0.16966 | 169.6602 | tiny peak visible, but does not show up on Peak Simple program. I would call this limit of detection
0.5mL 0.5% | 12.2 | 0.061 | 0.0041508 | 0.5 | 0.0005 | 0.082057 | 298.15 | 8.483e-08 | 84.8301 | 0.08483 | 84.8301 | 84830.0996
0.1 mL 0.5% | 12.2 | 0.061 | 0.0041508 | 0.1 | 0.0001 | 0.082057 | 298.15 | 1.6966e-08 | 16.966 | 0.016966 | 16.966 | 16966.0199 | LOQ CO
1 ml 0.5% | 12.2 | 0.061 | 0.0041508 | 1 | 0.001 | 0.082057 | 298.15 | 1.6966e-07 | 169.6602 | 0.16966 | 169.6602 | 169660.1992
5ul 1% mix | 12.2 | 0.122 | 0.0083016 | 0.005 | 5e-06 | 0.082057 | 298.15 | 1.6966e-09 | 1.6966 | 0.0016966 | 1.6966 | 1696.602
10ul 1% mix | 12.2 | 0.122 | 0.0083016 | 0.01 | 1e-05 | 0.082057 | 298.15 | 3.3932e-09 | 3.3932 | 0.0033932 | 3.3932 | 3393.204
0.2 ml 1% gas | 12.2 | 0.122 | 0.0083016 | 0.2 | 0.0002 | 0.082057 | 298.15 | 6.7864e-08 | 67.8641 | 0.067864 | 67.8641 | 67864.0797
0.5ml 1% gas | 12.2 | 0.122 | 0.0083016 | 0.5 | 0.0005 | 0.082057 | 298.15 | 1.6966e-07 | 169.6602 | 0.16966 | 169.6602 | 169660.1992 | if by 10 ppm she means 10 ppm in 1ml at boulder atmospheric pressure and 25˚C, then that would be 0.3 µmol
1 ml 1% gas | 12.2 | 0.122 | 0.0083016 | 1 | 0.001 | 0.082057 | 298.15 | 3.3932e-07 | 339.3204 | 0.33932 | 339.3204 | 339320.3985
2 ml 1% gas | 12.2 | 0.122 | 0.0083016 | 2 | 0.002 | 0.082057 | 298.15 | 6.7864e-07 | 678.6408 | 0.67864 | 678.6408 | 678640.797
0.5mL 4% | 12.2 | 0.488 | 0.033206 | 0.5 | 0.0005 | 0.082057 | 298.15 | 6.7864e-07 | 678.6408 | 0.67864 | 678.6408 | 678640.797 | SRI website says detection limit is 0.1 ppm for FID for hydrocarbons
1 ml 4% | 12.2 | 0.488 | 0.033206 | 1 | 0.001 | 0.082057 | 298.15 | 1.3573e-06 | 1357.2816 | 1.3573 | 1357.2816 | 1357281.5939
0.5mL 5% | 12.2 | 0.61 | 0.041508 | 0.5 | 0.0005 | 0.082057 | 298.15 | 8.483e-07 | 848.301 | 0.8483 | 848.301 | 848300.9962
1 ml 5% | 12.2 | 0.61 | 0.041508 | 1 | 0.001 | 0.082057 | 298.15 | 1.6966e-06 | 1696.602 | 1.6966 | 1696.602 | 1696601.9924
Notes
"5% gas mix" is 5% CO2, CO, N2 and 4% of O2, CH4, H2, and balance helium
"5% H2 mix" is 5% H2, 0.5% CO2, 0.5% CO, 0.5% O2
according to SGE 10µL syringe manual, "To ensure accuracy, the smallest inejcted volume from any syringe should be no less than 10% of its total capacity
can compare to Neubeck max concentration of 0.083 µM [83 nM] (they injected 2 mL gas into a Shimadzu GC-FID). My DL appears to be 5X higher
Note on I1: Microsoft Office User: moles injected into GC n= (PV)/(RT)
Note on K1: Microsoft Office User: When calculating concentration, we assume 1 mL of gas was injected.

## CO calib (FID)
run ID | sample | amount (nmol) | area |  | coeff | b
| 5ul 1% mix | 1.6966 | 1558.005
| 10 ul 1% mix | 3.39
20181018_EKH02 | 0.2 ml 1% mix | 67.8641 | 8956.368
| 0.5 ml 0.5% | 84.8301
| 0.5 ml 1% mix | 169.6602 | 21007.144 | y= | 127.74 | 0 | chose 0 as y int b/c it was peak area for CO on 100ppm CH4 injection (which was first injection at 13PSI carrier)
20181011_EKH03 | 1.0 ml 1% mix | 339.3204 | 43612.141 | x= | 0.0078284 | 0
20191011_EKH04 | 2 ml 1% mix | 678.6408
| 0.05 mL 1% mix | 16.966
.5 ml 5% mmix ruins calib curve. Point calib curve fails

## CH4 calib (FID)
run ID | sample | STD quantity (nmol) | area | notes |  | coeff | b
| 0.2 ml 100ppm CH4 12.2 PSIA | 0.67864
| 0.5 ml 100ppm CH4 12.2 PSIA | 1.6966 | 1507
| 1 ml 100ppm CH4 12.2 PSIA | 3.3932 |  |  | y= | 123.84 |  | calib curve intercept set to 0 b/c blanks are 0
B5 | 0.2 ml 1% mix 12.2PSIA | 67.8641 | 8073
| 0.5 ml 1% mix | 169.6602 | 19729 |  | x= | 0.0080749 | 0
0 | 1 ml 1% mix | 339.3204 | 42722
0 | 2 ml 1% mix | 678.6408

## CO2 calib (FID)
run ID | sample | amount (nmol) | area | notes
| 0.1 ml 400 ppm (air) | 1.3573
B6 | 0.2 ml 1% gas | 67.8641 | 4156.636 |  | y= | 88.621 | 60 | chose 60 as y int b/c it was peak area for CO2 on 100ppm CH4 injection (which was first injection at 13PSI carrier)
| 0.5 ml 0.5% | 84.8301
| 0.5ml 1% gas | 169.6602 | 14915.909 |  | x= | 0.011284 | -0.67704
0 | 1 ml 1% gas | 339.3204 | 30606.744
0 | 2 ml 1% mix | 678.6408
| .05 mL 1% | 17 | 1518.566

## H2 calib (TCD)
run ID | sample | analyte amount (nmol) | area | notes |  | coeff | b
| 0.5 ml 100 ppm (0.01%) | 1.6966
| 1 ml 100 ppm (0.01%) | 3.3932 |  |  | y= | 8.8782 |  | calib curve intercept set to 0 b/c blanks are 0
B6 | 0.2 ml 1% gas | 67.8641 | 139.021
| 0.5ml 1% gas | 169.6602 | 1483.676 |  | x= | 0.11264 | 0
0 | 1 ml 1% gas | 339.3204 | 3116.541
0 | 2 ml 1% gas | 678.6408
| 0.5 ml 5% | 848.301

## 20181011
|  |  | FID |  |  | TCD
ID | sample | volume sample (ml) | CO | CH4 | CO2 | H2 | notes
| blank no inject | 0 | 0 | 0
B5 |  | 0.5 | 892.272 | 0 | 0 | 0
B6 |  | 0.5 | 524.972 | 0 | 0 | 256.769